SECTION 07 62 00 – SHEET METAL FLASHING AND TRIM

PART 1	GENERAL

## RELATED DOCUMENTS

- All of the Contract Documents, including General and Supplementary Conditions and Division 1 Specification Sections, apply to the work of this Section.

- Examine all Drawings and all other Sections of the Specifications for requirements therein affecting the work of this Section.

- Coordinate work with that of all other trades affecting or affected by work of this Section.  Cooperate with such trades to assure the steady progress of all work under the Contract.

1.02	DESCRIPTION OF WORK

### The Work of this Section shall include, but not be limited to, the following:

- Custom Profiles: shop-fabricated Architectural Zinc flashing & trim profiles utilized for [steep-slope, mid-slope, low-slope, vegetated] roof-edge metal, custom roof drainage, custom metal roofing accents, exposed wall flashings, exterior ornaments & other miscellaneous architectural metal details as indicated on the Drawings including but not limited to coping, cornice, fascia, soffit, etc.  Custom metal fabrications shall include all accessories for a weatherproof installation.  Although custom profiles described here are not typically tested (wind or fire resistance), they may provide acceptable performance based on sound design & installation practices.

- Prefabricated Profiles (System Partner): Architectural Zinc products (profiles) & systems fabricated from sheet/coil material produced by the zinc manufacturer.  Available in standard shapes & sizes, system partners offering zinc profiles shall satisfy the architectural design intent and performance criteria unless otherwise approved by the Architect.  Single-source fabricator/ system partner to provide prefabricated profiles & component parts for undivided responsibility.  Available Prefabricated profiles include but not limited to: [coping, fascia, soffit, cornice, ornaments, gutter, downspout, ridge cap, etc.] as indicated on the Drawings.

- Prefabricated Profiles (Zinc Manufacturer): Architectural Zinc products (profiles) & systems fabricated by the zinc (sheet/coil) manufacturer.

- [Concealed Sheet Metal Flashing integral with masonry & other wall cladding/ rainscreen wall construction as indicated on the drawings or required for a weathertight installation.  Concealed flashing profiles to be fabricated from stainless steel.]

- [Interior Architectural Sheet Metal Trim as indicated on the Drawings.]

### Related Sections:

- Section 04210 – Brick Masonry

- Section 05400 – Cold Formed Metal Framing

- Section 06100 – Rough Carpentry

- Section 07100 - Waterproofing

- Section 07210 – Building Insulation

- Section 07265 – Air and Vapor Barrier Membrane

- Section 07410 – Metal Wall Panel Systems

- Section 07500 – Low-Slope Membrane Roofing

- Section 07600 – Steep Slope [Shingle, Slate, Tile, Metal] Roofing

- Section 07610 – Metal Roofing

- Section 07720 – Roof Accessories

- Section 07920 – Joint Sealants

  - REFERENCES

- ASTM B69-16 (or latest edition) – Architectural Rolled Zinc - Types 1 and 2 – Standard Specification for rolled zinc.

- RHEINZINK Division 7 Binder: latest edition.

- SMACNA – Architectural Sheet Metal Manual; latest edition; Chapter 7 as a minimum standard or these specification and details where they exceed.

- Names of the applicable building codes or other authorities having jurisdiction: ______________________________________________________

- As all documents are intended to be complementary, in the event of contradiction in the references, the RHEINZINK Division 7 Binder; latest edition will govern.

- Stainless Steel alloy Material Standards:   ASTM A167-99 & A240. (latest editions) Type [304, 316, 316L].

- Architectural Zinc Design Guidelines (handling, fabrication, & installation issues specific to zinc): RHEINZINK Div. 7 Binder; latest edition.

- SMACNA – Architectural Sheet Metal Manual; latest edition; Chapters 2, 3, and 4 as a minimum standard or these specification and details where they exceed (subordinate to Architectural Zinc Guidelines).

- Manufacturing Quality Control: ISO 9001 (Quality management) & ISO 14001 (Environmental management).

- Ecological Footprint: ISO 14025, Type III – Environmental Product Declaration (EPD), Cradle – Gate environmental impact analysis of zinc sheet intended for roof, façade, gutter & other exterior building applications.  Comprehensive report including: Life-Cycle Analysis (ISO 14040), End of Life use, primary energy concentration (embodied energy), Global Warming Potential (GWP) and evidence of expected atmospheric corrosion and surface loss (erosion).

- IZA - International Zinc Association: research publications addressing Life Cycle Assessment (LCA) & Sustainability issues.

- MBDC Cradle to Cradle Certification.

## SUBMITTALS

  - Provide product data sheet for Architectural Zinc [Titanium-Zinc] material including Zinc Rolling Mill name, Quality control (including ASTM & ISO standards), Physical Properties, intended uses, and storage & handling requirements.

  - Environmental Product Declaration (EPD): ISO 14025 verification of completion at time of bid.  Short-form EPD for verification (long-form e-document as requested by Architect).

  - LEED submittals including:  recycled content (post-industrial & post-consumer), local products (location of primary fabrication).

  - Material Samples:  submit [CLASSIC bright rolled, artCOLOR skygrey, artCOLOR basalte, prePATINA blue-grey, prePATINA graphite-grey] color samples of each material that is to be exposed in the finished work.  As required by architect, also provide two fabricated panel samples to demonstrate interlocking connection.

  - Shop Drawings:  indicate location of all fabricated sheet metal flashing & trim shapes on [roof, soffit/ reflected] plans and [exterior wall, interior wall] elevations included in the Work.  Include detail of profile attachment (thru-fastened or indirect/clipped), terminations, joints, corners, supports, anchorage points/ slot locations, cleats, hooks/ hems/ edge conditions,  closures, and special details.  Provide anticipated profile dimensions & bend angles for all critical sheet metal profiles when required by the Architect.  Indicate profiles that are “custom fabricated” and those that are “prefabricated” profiles.

    - Provide sheet metal flashing & trim details required by drawings & associated [roof, façade] installation.  Show all shop fabricated sheet metal fabrications including seam pattern/ alignment, seam configuration and dimensions.

    - Indicate metal type, thickness, surface finish [prePATINA], & zinc alloy for all sheet metal profiles.

    - Show all accessory products to be provided including but not limited to: waterproof underlayment, ventilation mat, slip sheet, mechanical fasteners, VHB tape, clips, sealant, & sealant tape.

    - Details for joining and securing sheet metal components, including layout, number of fasteners, clip spacing, & soldered connections.

    - Detail of expansion provisions including sliding joints, use of clips/ prepunched slotted holes, anticipated direction(s) of movement, maximum allowable movement, and fixed-point location.

    - Details of [roof, wall] penetration flashing such as vents, skylights, chimneys, dormers, doors, windows, louvers, and special conditions.

    - Details of coordinated trades: provide flashing details for integrating mechanical, electrical and plumbing conditions.

    - Show all concealed cleats (keepers) and clip material, size, & gauge.  Design attachment for roof edge flashing to meet ANSI/SPRI ES-1 standard.

    - Termination Details of connections to adjoining work.

  - Profile Samples:  when further shop drawing clarification is required by Architect, provide 12” min. fabricated profile (full width).

  - Mock-up:  As required by Architect, provide Architectural Zinc flashing & trim profiles required by other [roof, wall] panel assemblies specified (in other sections).  Maximum total mockup size to be 10’ x 10’.

  - Engineering Calculations:  As required by local building code or by the Architect, provide prefabricated sheet metal flashing & trim profiles by system partners capable of supplying completed test data prior to the bid date.  Where testing data is not available, provide sheet metal flashing & trim attachment schedule that meets the uplift requirements provided herein or as indicated on the drawings.  Provide Engineering Calculations signed & stamped by a Structural Engineer certifying wind-uplift resistance [ xx psf] of exposed architectural sheet metal work.

## QUALITY ASSURANCE

  - Fabricator Qualifications: Zinc flashing & trim fabricator to have minimum of 5 years experience fabricating architectural zinc or similar metals (anodized aluminum or copper) and must be trained by the zinc-alloy manufacturer.  Architectural Zinc fabrication & application training program to be directed by the zinc rolling-mill (or third-party reseller).

  - Installer Qualifications:  Installer shall have completed training provided by the zinc rolling mill [or third-party reseller].  Installers new to Architectural Rolled Zinc applications shall have prior work experience using aluminum, copper, & other natural weathering non-ferrous metals.

  - Product Source:  Provide sheet metal flashing & trim which are produced by one manufacturer.  Provide accessory materials (fasteners, clips, etc.) which are compatible to the zinc manufacturer.  Award installation of zinc flashing & trim including [weather barrier, waterproof underlayment] and ventilation mat to a single firm for undivided responsibility.

  - Industry Standard:  Except as otherwise shown or specified, comply with applicable recommendations and details of the RHEINZINK Division 7 Binder; latest edition and SMACNA Architectural Sheet Metal Manual, latest edition.  Conform to dimensions and profiles shown or as approved on shop drawing submittal.

  - Field Measurements:  Prior to fabrication of sheet metal flashing & trim, compare architectural drawings, approved shop drawings, and actual field measurements of substrates to receive sheet metal flashing & trim.  Make necessary minor adjustments to satisfy design intent and functional performance.  Notify Contractor of any major discrepancies to structure and substrate that deviate from the original intent of the Architect.

  - Pre-Installation Conference:  As needed for field coordination and required by the Architect, convene an installation conference to include the Architect, General Contractor, [Masonry contractor, wall cladding contractors, roofing contractor], and Architectural Sheet Metal installer in order to establish procedures to maintain optimum working conditions and to coordinate this work with related and adjacent work.  Notify local sales manager employed by Rolled Zinc manufacturer one week prior to meeting date.

    - Review methods and procedures for installation including, but not limited to:  substrates, sub framing, penetrations and other preparatory work.

    - Review drawings, specifications, submittals and other contract documents.

    - Review construction schedule verifying availability of all materials, personnel and equipment needed to proceed and avoid delays.  Verify that all masonry cleaning will be completed in the immediate area that would adversely impact the installed Architectural Zinc sheet metal.

    - Review weather and forecasted weather conditions and procedures for coping with unfavorable conditions, including cold temperatures.

  - Mock-Up:  As determined to be helpful by the architect, provide Sheet Metal Flashing & Trim cladding for exterior wall & roof conditions.  Incorporate materials and methods of fabrication and installation identical with project requirements.  Install mock-up at roof & façade location directed by Architect.  Retain accepted mock-up as quality standard for acceptance of completed metal facade.  If accepted, mock-up may be incorporated as part of the finished work.

    - Provide mock-up of sufficient size and scope to show typical pattern of [standing] seams, panel width, edge construction, and finish color.

    - Extent of the mock-up that is to be included in the final Work as indicated on the Drawings.

    - Obtain Architect’s written approval of mock-ups prior to proceeding with final installation.

  - Soldering:  In accordance with instructions provided by manufacturer of Architectural 	Rolled Zinc.

  - Corrosion Control:  Avoid direct contact of incompatible materials including but not limited to copper, red rosin paper, wet concrete & mortar, masonry cleaning solutions, & de-icing materials.

  - PERFORMANCE REQUIREMENTS

  - Design wall assembly to conform to the requirements of the _______ Building Code.

  - Install sheet metal flashing & trim and underlayment materials shingle fashion to avoid trapping of water.  Flashing to divert all moisture infiltration to the building exterior.

  - Wind Load:  As required by local code and the contract documents, design and engineer sheet metal flashing & trim, including size, spacing, & quality of mechanical fasteners & clips, and meeting requirements established by engineering calculations and local building codes.

  - Thermal Movement:  Provide zinc profiles and detail connections which allow for thermal movement of the metal resulting from ambient temperature range of 120 ( F.  Individual zinc flashing & trim profiles shall have a fixing point zone (typically 36 inches) as needed to allow thermal movement of the zinc profiles.

  - Structural Performance:  Provide zinc flashing, trim, anchors and attachments, which resist loads as required by code [and as documented in Engineering requirements] without permanent deflection or deformation.

  - DELIVERY, STORAGE AND HANDLING

- Deliver all sheet, coil, and prefabricated zinc profiles unopened factory labeled packages.  Protect materials from damage at all times. Rolled Zinc to be transported according to manufacturer’s recommendations.

- Store and handle in strict compliance with manufacturer’s instructions and recommendations.

      - Protect zinc flashing & trim to the greatest extent possible.  Store in covered shelter when possible minimizing exterior exposure until installation time.  Stack materials on platforms or pallets, covered with tarpaulins or other suitable ventilated weatherproof covering.  Slope cover & pallets to shed moisture.  Allow for free airflow around covered material to exchange outside air.

      - All personnel to wear clean white cotton gloves when handling zinc flashing & trim profiles when no strippable film is present.

      - Do not store zinc profiles in contact with or below materials that might cause staining, denting, or other surface damage.

      - Store zinc profiles so that they will not accumulate water or excess moisture.

- Exercise care in unloading, storing, and erecting zinc flashing & trim to prevent bending, warping, or surface damage.

- Sequence deliveries to avoid delays, but minimize on-site storage.

  - WARRANTY

- Material Only Warranty: provide X-year limited warranty for Titanium-Zinc alloy from original rolling mill manufacturer.  Warranty to cover the material quality of the sheet/ coil material used to fabricate sheet metal flashing & trim profiles appropriate for zinc installation.

- Fabrication Warranty:  provide X-year fabrication warranty against sharp bends that fracture the metal, tears, and equipment induced damage to the Architectural Zinc sheet or coil.

- Installation Warranty: provide X-year guarantee covering the proper material or product application preventing failure due to hot-water corrosion, damage due to inappropriate slip sheet, absorptive separation material, or other installer induced failure.

PART 2 – PRODUCTS

  - MANUFACTURERS

    - Architectural Rolled Zinc Manufacturers:  Subject to compliance with requirements, manufacturers of rolled-zinc sheet & coil used to fabricate custom flashing & trim profiles & prefabricated flashing & trim profiles used for exposed exterior building applications include:

      - RHEINZINK America, Inc.

Woburn, MA 01801   ph: (781) 729.0812

Regional Sales Manager ___________ ph: _______________

www.rheinzink.us

    - Rolled Zinc Alloy Sheet/Coil:

- Titanium Zinc Alloy whose base is electrolytic high grade with a 99.995 % Zn degree of purity and alloying additives of 0.08% - 1.0% copper and 0.07% - .12% titanium, .001% - .015% aluminum in accordance with ASTM B69-16 (or latest edition) – Architectural Rolled Zinc - Type 1 and Type 2.

  - CLASSIC Bright Rolled

  - prePATINA: pickling process

    - prePATINA Blue-Grey

    - prePATINA Graphite Grey

  - artCOLOR: phosphating process

    - artCOLOR: phosphate process artCOLOR skygrey

    - artCOLOR: phosphate process artCOLOR basalte

  - prePATINA: BG or GG with ProRoofing backside coating

- Minimum Zinc sheet thickness based on profile’s primary face dimension:

  - 0.7mm (24 ga.) [for face width < 8”]

  - 0.8 mm (22 ga.) [for face width < 12”]

  - 1.0 mm (20 ga.) [for face width < 18”]

- Minimum Flashing Thickness:  0.7 mm (24 ga.) [0.8 mm (22 ga.)] or as required to minimize oil-canning & provide acceptable wind resistance.

- Zinc Flashing & Trim Fabricator or System Manufacturer:

    - Local/ Regional Sheet Metal Fabrication Shop

    - Select zinc flashing & trim fabricator that has appropriate zinc-friendly equipment and personnel trained by the zinc rolling mill capable of producing quality zinc flashing & trim profiles.

    - Contractor may elect to purchase prefabricated zinc flashing & trim profiles as fabricated by an approved RHEINZINK fabricator or system partner.

    - Stainless Steel Sheet:  Provide stainless steel type 304 with 2B finish for concealed sheet metal applications including: [masonry receiver & thru-wall] flashing, hold stmdown cleats, and concealed clips.  Use appropriate gauge metal [24 ga., 26 ga., 28 ga.] as required for structural performance of the zinc flashing & trim profile.

  - ACCESSORIES

- Provide all components necessary for a complete, functional, weatherproof assembly including, but not limited to, trims, copings, fascias, sills, flashings, counter flashings, door frame trim, corner units, clips, wall caps, copings, sealants, closures and fillers.  Metal materials shall match panels and be zinc compatible.

- Clips & Fasteners:  Provide stainless steel concealed clips and stainless steel fasteners; supplied in accordance with manufacturer’s recommendations and to meet the load requirements as specified by architect and confirmed by engineering calculations.  Attachment clips shall permit expansion and contraction of the panel system throughout the specified temperature range.  When permeable air barrier sheets are used and as required by the architect to resist liquid water penetration at the fastener penetration, provide fasteners with watertight washer gaskets (such as self-adhered membrane).

- Solder:  Lead solder containing 50% tin and 50% lead in accordance with ASTM B32 – 08 (or latest edition) or lead-free solder.  Flux:  Felder ZD-Pro or equal.

- Self-adhered Waterproof Underlayment: non-permeable self-adhering, high-temperature composite, butyl rubber-based, polyethylene-backed membrane such as GRACE Ultra™ or other high-temperature rubberized-asphalt sheet.

- Permeable Underlayment:  Permeable breather type underlayment membrane:  Roofshield or Wallshield as manufactured by Vaproshield or A.Proctor Group (note fastener gasket requirement) or equal accepted by zinc manufacturer.

- Air Barrier Underlayment:  Vapor permeable sheet underlayment:  Tyvek Commercial Wrap with taped seams or equal (note fastener gasket requirement) or equal accepted by zinc manufacturer.

- Synthetic Underlayment:  High tear strength non-bituminous felt (no asphalt felt) produced from polypropylene/ polyethylene fibers such as Grace Tri-Flex 30 or equal accepted by zinc manufacturer (note fastener gasket requirement).

- Ventilation Mat/ Capillary Break/ Slip Sheet:  Entangled nylon filaments creating a drainage space/ ventilation cavity to allow air movement and the possibility for liquid water or water vapor to escape.  Provide Enkamat 7010 by Bonar or Air-Z by RHEINZINK.  Note:  Use of Red Rosin paper or other moisture-holding material as a slip sheet is NOT acceptable.

- Joint Sealants:  Where sheet metal flashing & trim terminates into or adjacent to dissimilar materials (masonry, glass, other metals, etc.) and a waterproof connection is required, provide joint backer rod, bond-breaker, and pH neutral sealant.  Responsibility of this scope of work as determined by the Contractor.  Provide Dow 795 structural silicone sealant or other documented pH neutral sealant.  Use butyl-based sealant when required for moving joints.

Note:  use of sealants should not interfere with the zinc’s ability to dry out.  Do not block weep holes or interfere with concealed drainage path when using sealant.  Minimize exposed sealant joints that drain onto other zinc surfaces to avoid visible staining.

  - PROFILE FABRICATION

    - General:  Fabricate zinc flashing & trim in a heated shop and when metal temperature is 50 degrees F.  Comply with minimum “soft” bend requirements based on metal thickness (min. bending radius to be 1.5 times metal thickness).  Provide details as shown provided they do not interfere with functional performance of the zinc.  Comply with recommendations found in RHEINZINK “Applications in Architecture”, latest edition, SMACNA “Architectural Sheet Metal Manual”, latest edition, and RHEINZINK Division 7 Binder (latest edition).  Apply all zinc-specific recommendations to the design, dimensions (pan width and seam height), geometry, metal thickness, and other characteristics of installation indicated.  Fabricate zinc flashing & trim to greatest extent possible in interior shop environment.

    - Fabricate zinc flashing & trim to allow for expansion in running work sufficient to prevent leakage, damage, and deterioration of the Work.  Form exposed sheet metal work to fit substrates without excessive oil canning, buckling, and tool marks, true to line and levels indicated, and with exposed edges folded back to form hems.

      - Lay out sheet metal flashing & trim work so cross seams, when required, are made in direction of flow with higher profile overlapping lower profile.  Stagger cross seams when aesthetics are critical.

      - Form and fabricate sheets, seams, strips, cleats, edge treatments, integral flashing, and other components of zinc flashing & trim to profiles, patterns, and drainage arrangements shown and as required to resist water infiltration without excessive use of sealants (dry joints) while also allowing any water infiltration behind the wall panels to weep out.

- Expansion Provisions:  Where lapped or bayonet-type expansion provisions in the Work cannot be used, form expansion joints of intermeshing hooked flanges, not less than 1 inch deep, filled with non-acidic sealant (concealed within joints).

- Sealant Joints:  Where movable, non-expansion-type joints are indicated or required to produce weather tight seams, form metal to provide for proper installation of elastomeric sealant in compliance with SMACNA standards.  In general, panel joints are intended to be dry, sealant-free, to facilitate air movement and drying behind the profiles whenever possible.

- Separating dissimilar products:  Provide permanent separation materials on concealed profile surfaces where zinc profile would otherwise be in direct contact with substrate materials that are non-compatible or could result in corrosion or deterioration.

PART 3 – EXECUTION

  - INSPECTION

      - Contractor shall inspect all surfaces, areas and other contingent construction in or to which his work is to be installed and insure himself that they are in proper condition to receive the work to be performed under this Section.

      - Verify that sheathing surfaces are sound, dry, properly secured and that provision has been made for flashings, anchorage, and all other interface items attaching to or penetrating through the Work of this Section has been completed.

      - The Contractor shall notify the Architect in writing, before any work is installed, of any condition requiring correction.  Failure to make such a report shall be construed as acceptance of the existing conditions and the responsibility to provide an acceptable installation.

  - PREPARATION

- Verify field dimensions before fabrication.  Notify Architect of any discrepancies between field measurements and dimensions indicated in Construction Documents.

- Underlayments:  Identify locations to receive various types of self-adhered, mechanically attached, & loose laid underlayment materials.  Ensure substrate is clean & dry prior to proceeding.  Provide substrate primer as required for cold weather application.  Place [air barrier, permeable underlayment, waterproof] membrane on substrate surfaces to receive sheet metal flashing & trim.  Conceal underlayment fasteners with side and head laps to greatest extent possible. Comply with manufacturer’s instructions.

- Coordinate installation of underlayment with [roof, wall] material or product manufacturer so that sheet metal flashing, & trim will provide a weatherproof, secure and durable installation.

- Provide underlayment end and side laps as recommended by underlayment manufacturer’s instructions for proper attachment, seaming, and termination recommendations.

- Use cap nails or screws with rubber gaskets (do not use staples)

- For breather-type permeable /air barrier membranes, consult the architect for strategies preventing infiltration through fastener holes by applying sealant to backside of clips.

  - INSTALLATION

- Rolled Zinc Manufacturer’s Recommendations: Except as otherwise shown or specified, comply with recommendations and instructions of manufacturer of sheet metal being fabricated and installed.

- Do not install in inclement weather or over a damp substrate.

- Use screws rather than nails to greatest extent possible

- Provide ventilation mat under zinc flashing & trim whenever possible without interfering with the primary [roof, wall] cladding material.  When slope of zinc flashing & trim is greater than 30%, backside coating alone is acceptable.  For slopes over 50%, no backside coating is required.  If covering of zinc flashing is required, take extra precautions to ensure long-term waterproof seal over the zinc.

- Install work to be truly straight and square or conform to curvilinear geometry indicated on drawings.

- Fabricate and install work with lines and corners of exposed units true and accurate.

- Form exposed faces free of buckles, excessive waves, and avoidable tool marks considering temper and reflectivity of metal.

- Shim and align zinc flashing & trim within installed tolerance of ¼ inch in 20’ –0”

- All seams shall be of uniform appearance and dimensions, straight and level with minimum exposure of solder.

- Except as otherwise shown, fold back sheet metal to form an open hem (water check) on concealed side of exposed edges.

- Form all seams to be weatherproof, leaving room for expansion and contraction with specified and required tolerances.

- Comply with RHEINZINK RHEINZINK Division 7 Binder (latest edition); and SMACNA Architectural Sheet Metal Manual; latest edition for flashings and sheet metal work.

- Conceal fasteners and expansion provision where possible in exposed work, and locate so as to minimize possibility of leakage.  Cover and seal fasteners and anchors as required for a tight installation.

- Provide work as indicated on approved shop drawings

- Form and fabricate sheets, seams, strips, cleats, edge treatments, integral flashings, and other components of metal wall cladding to profiles, patterns, and drainage arrangements shown and as required for water shedding construction.  Ensure that all shop & field fabricated bends have an acceptable “rounded” or radius bend.  NO SHARP BREAKS.

- Separate non-compatible materials with a rubberized asphalt underlayment.

- Install work to meet specified performance requirements.

  - CLEANING AND PROTECTION

  - Remove protective film (if any) from zinc panel surfaces promptly upon installation (or prior if film covers any concealed seam areas) with care to avoid damage to finish.

  - Clean exposed metal surfaces of substances that would interfere with uniform oxidation and weathering and as recommended by panel manufacturer and maintain in a clean condition during construction.  Use WD-40 applied to a clean cloth and apply light pressure to remove contaminated surface.  Never apply cleaner directly to zinc surface.

  - Ensure that cleaning by other trades working in proximity to zinc installation is in accordance with the recommendations of the zinc manufacturer.

  - Damaged units:  Replace panels and other components of the work that have been damaged or have deteriorated beyond successful repair by means of finish touch-up or similar minor repair.

  - RECYCLING

- Collect all zinc drop-offs (scrap) and return to local scrap metal recycling facility for current market monetary return.

  - CLEAN-UP

- During the progress of the work, keep premises clear of debris resulting from these operations and remove surplus and waste materials from the site as soon as possible.

- Upon completion of the work, Contractor shall remove from the site all equipment and materials used on the work as well as any debris resulting from the operations.

-END OF SECTION-